## Dashboard (hidden)
Utility: | Entergy
Base Year: | 2018
Current Year: | 2018
Model Output Folder:
F:\Texas PUC EM&V\Analysis\Cost Effectiveness\PY2018\Entergy
Input File Status:
Loaded 8/14/2019 2:16:08 PM
Sheets Locked:
FALSE
Load Input File
Choose Output Folder
Toggle Sheet Lock

## Notes
The following are descriptions of inputs for the cost-effectiveness model.
Throughout the workbook, cells shaded in blue are manual inputs. All other cells are calculated based on the manual inputs. The inputs are also shaded below.
Sheet/Input Item | Description
Avoided Costs
Utility Avoided kWh | Utility cost of avoided energy
Customer-ERCOT | Customer cost of avoided energy - ERCOT utilities
Customer-Non | Customer cost of avoided energy - Non-ERCOT utilities
Peak kW | Cost of avoided peak demand
Portfolio Inputs
Base Year | The base year in which net costs and benefits will be expressed.
Current Year | The current testing year, to define for which year results will be displayed in the program year results.
Line Loss | Factor that accounts for lost energy between generation and the meter.
WACC | Weighted Average Cost of Capital
Administrative Costs | Costs associated with operating the portfolio of programs that are not attributed to specific programs.
R&D Costs | Research and development costs not attributed to specific programs
EM&V Costs | Evaluation costs not attributed to specific programs
Performance Bonus | The dollar value of the performance bonus for exceeding portfolio savings goals.
Net Administrative Costs | Portfolio Administrative Costs expressed in Base Year dollars.
Net R&D Costs | Portfolio R&D Costs expressed in Base Year dollars.
Net EM&V Costs | Portfolio EM&V Costs expressed in Base Year dollars.
Program Inputs
Program | The official program name, selected from the list entered on Program Type Map.
Program Group | The sector targeted by a program, such as Commercial or Residential, if applicable. Pilots and Load Management are listed separately.
Program Year | The year for the line item, used to calculate net costs, selected from years entered on Portfolio Inputs.
Administrative Costs | Costs associated with operating the program.
R&D Costs | Research and Development costs attributable to the program.
EM&V Costs | Evaluation costs attributable to the program.
Incentives | Total incentives paid for this program.
Net Admin | Program Administrative Costs expressed in Base Year dollars.
Net R&D | Program R&D Costs expressed in Base Year dollars.
Net EM&V | Program EM&V Costs expressed in Base Year dollars.
Net Incentives | Program incentives expressed in Base Year dollars.
Measure Inputs
Measure Code | Unique program and measure identifier.
Program | The program claiming the measure's savings.
Measure Name | The name of the measure, either from the TRM or something more readable.
Measure Life | The effective useful life of the line item, as defined in the TRM or custom project file.
Claimed kWh | The gross reported annual energy savings for the line item.
Claimed kW | The gross reported annual demand reduction for the line item. Should be entered as peak kW (not total).
Evaluated kWh | The evaluated annual energy savings for the line item.
Evaluated kW | The evaluated annual demand reduction for the line item. Should be entered as peak kW (not total).
Net kWh | The evaluated net annual energy savings for the line item.
Net kW | The evaluated net annual demand reduction for the line item. Should be entered as peak kW (not total).
SIR Inputs are the same as Measure Inputs, but only the sub-set that apply to SIR testing.

## Summary and Report Table
| Statewide Report Columns |  |  |  | Benefits Bonus Allocation |  |  | Cost / kWh |  |  | Cost / kW
| Level of Analysis | Claimed Savings Results | Evaluated Savings Results | Net Savings Results | Claimed Savings Results | Evaluated Savings Results | Net Savings Results | Claimed Savings Results | Evaluated Savings Results | Net Savings Results | Claimed Savings Results | Evaluated Savings Results | Net Savings Results
| Total Portfolio | 2.6211 | 2.6211 | 2.3295 | 2.6211 | 2.6211 | 2.3295 | 0.0077823 | 0.0077823 | 0.0087739 | 16.5937 | 16.5937 | 18.8249
| Total Portfolio excluding low-income programs | 2.6211 | 2.6211 | 2.3295 | 2.6211 | 2.6211 | 2.3295 | 0.0077823 | 0.0077823 | 0.0087739 | 16.5937 | 16.5937 | 18.8249
| Commercial | 3.7212 | 3.7212 | 3.3391 | 4.0355 | 4.0355 | 3.617
1758 | Commercial Solutions MTP | 3.7212 | 3.7212 | 3.3391 | 4.0355 | 4.0355 | 3.617 | SQL Results:
| Residential | 1.8739 | 1.8739 | 1.6316 | 2.1114 | 2.1114 | 1.8415 | OK | OK | OK
1760 | Residential SOP | 1.9742 | 1.9742 | 1.7477 | 2.3289 | 2.3289 | 2.0621
1761 | Entergy Solutions High Performance Homes MTP | 2.5716 | 2.5716 | 1.8001 | 3.0872 | 3.0872 | 2.1694
1762 | A/C Distributor MTP | 1.2958 | 1.2958 | 1.0885 | 1.5728 | 1.5728 | 1.3216
1763 | Hard-To-Reach SOP | 1.5254 | 1.5254 | 1.5254 | 1.8357 | 1.8357 | 1.831
| Load Management | 1.5577 | 1.5577 | 1.5577 | 1.8643 | 1.8643 | 1.8634
1759 | Load Management SOP | 1.5577 | 1.5577 | 1.5577 | 1.8643 | 1.8643 | 1.8634

## Reported Savings Results
| Measurement Level | PY2018 Benefits |  |  | PY2018 Costs | [5 empty] | Reported Savings Benefit/Cost Ratio | Bonus % Incentives | Alternate Allocation |  |  |  | Bonus % Benefits
| Portfolio | Avoided Energy | Avoided Demand | Total Benefits | Incentive Costs | Admin Costs | R&D Costs | EM&V Costs | Performance Bonus | Total Costs |  |  | Total Benefits | Performance Bonus | Total Costs | Benefit/Cost Ratio |  | Lifetime kWh | $/kWh | Lifetime kW | $/kW
| Total Portfolio | 14146348.0266 | 9424213.8587 | 23570561.8853 | 6332000 | 855000 | 28001 | 104402.1644 | 1673201 | 8992604.1644 | 2.6211 | 100% | 23570561.8853 | 1673201 | 8992604.1644 | 2.6211 | 100% | 693505808.3458 | 0.0077823 | 216679.6134 | 16.5937
| Total Portfolio excluding low-income programs | 14146348.0266 | 9424213.8587 | 23570561.8853 | 6332000 | 855000 | 28001 | 104402.1644 | 1673201 | 8992604.1644 | 2.6211 |  | 23570561.8853 | 1673201 | 8992604.1644 | 2.6211 | 100% | 693505808.3458 | 0.0077823 | 216679.6134 | 16.5937
|  | Reported |  |  | PY2018 Costs | [5 empty] | Reported Savings Benefit/Cost Ratio
| Sector | Avoided Energy | Avoided Demand | Total Benefits | Incentive Costs | Admin Costs | R&D Costs | EM&V Costs | Performance Bonus | Total Costs |  |  | Total Benefits | Performance Bonus | Total Costs | Benefit/Cost Ratio |  | Lifetime kWh | $/kWh | Lifetime kWh | $/kWh
| Commercial | 9784820.4371 | 3940275.9173 | 13725096.3544 | 2603000 | 349000 | 11508 | 37044.1818 | 687830.4174 | 3688382.5992 | 3.7212 | 41.11% | 13725096.3544 | 400522.4313 | 3401074.6131 | 4.0355 | 58.23% | 455336785.163 | 0.0057748 | 86127.8467 | 12.2943
| Residential | 4360780.7034 | 5020922.5387 | 9381703.2421 | 3540000 | 460000 | 15658 | 55417.2096 | 935428.228 | 5006503.4376 | 1.8739 | 55.91% | 9381703.2421 | 372325.0249 | 4443400.2345 | 2.1114 | 39.8% | 238147509.2043 | 0.0097717 | 124288.3258 | 21.5579
PAC | Low Income | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0 | #DIV/0! | 0% | 0 | #DIV/0! | 0 | #DIV/0!
| Load Management | 746.8861 | 463015.4027 | 463762.2888 | 189000 | 46000 | 835 | 11940.773 | 49942.3545 | 297718.1275 | 1.5577 | 2.985% | 463762.2888 | 982.6402 | 248758.4132 | 1.8643 | 1.968% | 21513.9785 | 0.022287 | 6263.4409 | 47.4561
| Pilot | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0 | #DIV/0! | 0% | 0 | #DIV/0! | 0 | #DIV/0!
SIR
|  | Reported |  |  | PY2018 Costs | [5 empty] | Reported Savings Benefit/Cost Ratio
| Program | Avoided Energy | Avoided Demand | Total Benefits | Incentive Costs | Admin Costs | R&D Costs | EM&V Costs | Performance Bonus | Total Costs
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Reported |  |  | PY2018 Costs | [5 empty] | Reported Savings Benefit/Cost Ratio
PID | Program | Avoided Energy | Avoided Demand | Total Benefits | Incentive Costs | Admin Costs | R&D Costs | EM&V Costs | Performance Bonus | Total Costs |  |  | Total Benefits | Performance Bonus | Total Costs | Benefit/Cost Ratio |  | Lifetime kWh | $/kWh | Lifetime kWh | $/kWh
1758 | Commercial Solutions MTP | 9784820.4371 | 3940275.9173 | 13725096.3544 | 2603000 | 349000 | 11508 | 37044.1818 | 687830.4174 | 3688382.5992 | 3.7212 | 41.11% | 13725096.3544 | 400522.4313 | 3401074.6131 | 4.0355 | 58.23% | 455336785.163 | 0.0057748 | 86127.8467 | 12.2943
1760 | Residential SOP | 1965141.912 | 2701428.1778 | 4666570.0898 | 1699000 | 190000 | 7515 | 18336.6795 | 448952.7004 | 2363804.3799 | 1.9742 | 26.83% | 4666570.0898 | 88884.9936 | 2003736.6731 | 2.3289 | 19.8% | 103358537.2796 | 0.0096308 | 65054.0527 | 21.0345
1761 | Entergy Solutions High Performance Homes MTP | 1168904.6141 | 772447.5042 | 1941352.1184 | 520000 | 81000 | 2299 | 14216.7371 | 137407.5363 | 754923.2734 | 2.5716 | 8.212% | 1941352.1184 | 11317.3548 | 628833.0919 | 3.0872 | 8.236% | 70237164.3118 | 0.0064716 | 21797.5699 | 13.7803
1762 | A/C Distributor MTP | 319501.9733 | 277445.8022 | 596947.7755 | 315000 | 52000 | 1394 | 9040.5964 | 83237.2576 | 460671.854 | 1.2958 | 4.975% | 596947.7755 | 2108.0658 | 379542.6622 | 1.5728 | 2.533% | 16569713.6774 | 0.01488 | 6759.2645 | 31.6763
1763 | Hard-To-Reach SOP | 907232.204 | 1269601.0544 | 2176833.2584 | 1006000 | 137000 | 4450 | 13823.1966 | 265830.7337 | 1427103.9303 | 1.5254 | 15.89% | 2176833.2584 | 24550.5044 | 1185823.701 | 1.8357 | 9.235% | 47982093.9355 | 0.012396 | 30677.4387 | 27.1318
1759 | Load Management SOP | 746.8861 | 463015.4027 | 463762.2888 | 189000 | 46000 | 835 | 11940.773 | 49942.3545 | 297718.1275 | 1.5577 | 2.985% | 463762.2888 | 982.6402 | 248758.4132 | 1.8643 | 1.968% | 21513.9785 | 0.022287 | 6263.4409 | 47.4561

## Evaluated Savings Results
| Measurement Level | PY2018 Benefits |  |  | PY2018 Costs | [5 empty] | Evaluated Savings Benefit/Cost Ratio | Bonus % Incentives | Alternate Allocation |  |  |  | Bonus % Benefits
| Portfolio | Avoided Energy | Avoided Demand | Total Benefits | Incentive Costs | Admin Costs | R&D Costs | EM&V Costs | Performance Bonus | Total Costs |  |  | Total Benefits | Performance Bonus | Total Costs | Benefit/Cost Ratio |  | Lifetime kWh | $/kWh | Lifetime kW | $/kW
| Total Portfolio | 14146348.0266 | 9424213.8587 | 23570561.8853 | 6332000 | 855000 | 28001 | 104402.1644 | 1673201 | 8992604.1644 | 2.6211 | 100% | 23570561.8853 | 1673201 | 8992604.1644 | 2.6211 | 100% | 693505808.3458 | 0.0077823 | 216679.6134 | 16.5937
| Total Portfolio excluding low-income programs | 14146348.0266 | 9424213.8587 | 23570561.8853 | 6332000 | 855000 | 28001 | 104402.1644 | 1673201 | 8992604.1644 | 2.6211 |  | 23570561.8853 | 1673201 | 8992604.1644 | 2.6211 | 100% | 693505808.3458 | 0.0077823 | 216679.6134 | 16.5937
|  | Reported |  |  | PY2018 Costs | [5 empty] | Evaluated Savings Benefit/Cost Ratio
| Sector | Avoided Energy | Avoided Demand | Total Benefits | Incentive Costs | Admin Costs | R&D Costs | EM&V Costs | Performance Bonus | Total Costs |  |  | Total Benefits | Performance Bonus | Total Costs | Benefit/Cost Ratio |  | Lifetime kWh | $/kWh | Lifetime kWh | $/kWh
| Commercial | 9784820.4371 | 3940275.9173 | 13725096.3544 | 2603000 | 349000 | 11508 | 37044.1818 | 687830.4174 | 3688382.5992 | 3.7212 | 41.11% | 13725096.3544 | 400522.4313 | 3401074.6131 | 4.0355 | 58.23% | 455336785.163 | 0.0057748 | 86127.8467 | 12.2943
| Residential | 4360780.7034 | 5020922.5387 | 9381703.2421 | 3540000 | 460000 | 15658 | 55417.2096 | 935428.228 | 5006503.4376 | 1.8739 | 55.91% | 9381703.2421 | 372325.0249 | 4443400.2345 | 2.1114 | 39.8% | 238147509.2043 | 0.0097717 | 124288.3258 | 21.5579
PAC | Low Income | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0 | #DIV/0! | 0% | 0 | #DIV/0! | 0 | #DIV/0!
| Load Management | 746.8861 | 463015.4027 | 463762.2888 | 189000 | 46000 | 835 | 11940.773 | 49942.3545 | 297718.1275 | 1.5577 | 2.985% | 463762.2888 | 982.6402 | 248758.4132 | 1.8643 | 1.968% | 21513.9785 | 0.022287 | 6263.4409 | 47.4561
| Pilot | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0 | #DIV/0! | 0% | 0 | #DIV/0! | 0 | #DIV/0!
SIR
|  | Reported |  |  | PY2018 Costs | [5 empty] | Evaluated Savings Benefit/Cost Ratio
| Program | Avoided Energy | Avoided Demand | Total Benefits | Incentive Costs | Admin Costs | R&D Costs | EM&V Costs | Performance Bonus | Total Costs
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Reported |  |  | PY2018 Costs | [5 empty] | Evaluated Savings Benefit/Cost Ratio
PID | Program | Avoided Energy | Avoided Demand | Total Benefits | Incentive Costs | Admin Costs | R&D Costs | EM&V Costs | Performance Bonus | Total Costs |  |  | Total Benefits | Performance Bonus | Total Costs | Benefit/Cost Ratio |  | Lifetime kWh | $/kWh | Lifetime kWh | $/kWh
1758 | Commercial Solutions MTP | 9784820.4371 | 3940275.9173 | 13725096.3544 | 2603000 | 349000 | 11508 | 37044.1818 | 687830.4174 | 3688382.5992 | 3.7212 | 41.11% | 13725096.3544 | 400522.4313 | 3401074.6131 | 4.0355 | 58.23% | 455336785.163 | 0.0057748 | 86127.8467 | 12.2943
1760 | Residential SOP | 1965141.912 | 2701428.1778 | 4666570.0898 | 1699000 | 190000 | 7515 | 18336.6795 | 448952.7004 | 2363804.3799 | 1.9742 | 26.83% | 4666570.0898 | 88884.9936 | 2003736.6731 | 2.3289 | 19.8% | 103358537.2796 | 0.0096308 | 65054.0527 | 21.0345
1761 | Entergy Solutions High Performance Homes MTP | 1168904.6141 | 772447.5042 | 1941352.1184 | 520000 | 81000 | 2299 | 14216.7371 | 137407.5363 | 754923.2734 | 2.5716 | 8.212% | 1941352.1184 | 11317.3548 | 628833.0919 | 3.0872 | 8.236% | 70237164.3118 | 0.0064716 | 21797.5699 | 13.7803
1762 | A/C Distributor MTP | 319501.9733 | 277445.8022 | 596947.7755 | 315000 | 52000 | 1394 | 9040.5964 | 83237.2576 | 460671.854 | 1.2958 | 4.975% | 596947.7755 | 2108.0658 | 379542.6622 | 1.5728 | 2.533% | 16569713.6774 | 0.01488 | 6759.2645 | 31.6763
1763 | Hard-To-Reach SOP | 907232.204 | 1269601.0544 | 2176833.2584 | 1006000 | 137000 | 4450 | 13823.1966 | 265830.7337 | 1427103.9303 | 1.5254 | 15.89% | 2176833.2584 | 24550.5044 | 1185823.701 | 1.8357 | 9.235% | 47982093.9355 | 0.012396 | 30677.4387 | 27.1318
1759 | Load Management SOP | 746.8861 | 463015.4027 | 463762.2888 | 189000 | 46000 | 835 | 11940.773 | 49942.3545 | 297718.1275 | 1.5577 | 2.985% | 463762.2888 | 982.6402 | 248758.4132 | 1.8643 | 1.968% | 21513.9785 | 0.022287 | 6263.4409 | 47.4561

## Net Savings Results
| Measurement Level | PY2018 Benefits |  |  | PY2018 Costs | [5 empty] | Net Savings Benefit/Cost Ratio | Bonus % Incentives | Alternate Allocation |  |  |  | Bonus % Benefits
| Portfolio | Avoided Energy | Avoided Demand | Total Benefits | Incentive Costs | Admin Costs | R&D Costs | EM&V Costs | Performance Bonus | Total Costs |  |  | Total Benefits | Performance Bonus | Total Costs | Benefit/Cost Ratio |  | Lifetime kWh | $/kWh | Lifetime kW | $/kW
| Total Portfolio | 12217470.1125 | 8730485.575 | 20947955.6874 | 6332000 | 855000 | 28001 | 104402.1644 | 1673201 | 8992604.1644 | 2.3295 | 100% | 20947955.6874 | 1673201 | 8992604.1644 | 2.3295 | 100% | 597767671.9587 | 0.0087739 | 199090.0142 | 18.8249
| Total Portfolio excluding low-income programs | 12217470.1125 | 8730485.575 | 20947955.6874 | 6332000 | 855000 | 28001 | 104402.1644 | 1673201 | 8992604.1644 | 2.3295 |  | 20947955.6874 | 1673201 | 8992604.1644 | 2.3295 | 100% | 597767671.9587 | 0.0087739 | 199090.0142 | 18.8249
|  | Reported |  |  | PY2018 Costs | [5 empty] | Net Savings Benefit/Cost Ratio
| Sector | Avoided Energy | Avoided Demand | Total Benefits | Incentive Costs | Admin Costs | R&D Costs | EM&V Costs | Performance Bonus | Total Costs |  |  | Total Benefits | Performance Bonus | Total Costs | Benefit/Cost Ratio |  | Lifetime kWh | $/kWh | Lifetime kWh | $/kWh
| Commercial | 8414945.5759 | 3900873.1581 | 12315818.734 | 2603000 | 349000 | 11508 | 37044.1818 | 687830.4174 | 3688382.5992 | 3.3391 | 41.11% | 12315818.734 | 404392.4317 | 3404944.6135 | 3.617 | 58.79% | 391589635.2402 | 0.0064357 | 85266.5682 | 13.7011
| Residential | 3801777.6505 | 4366597.0142 | 8168374.6646 | 3540000 | 460000 | 15658 | 55417.2096 | 935428.228 | 5006503.4376 | 1.6316 | 55.91% | 8168374.6646 | 364757.7049 | 4435832.9145 | 1.8415 | 38.99% | 206156522.74 | 0.011303 | 107560.0051 | 24.8823
PAC | Low Income | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0 | #DIV/0! | 0% | 0 | #DIV/0! | 0 | #DIV/0!
| Load Management | 746.8861 | 463015.4027 | 463762.2888 | 189000 | 46000 | 835 | 11940.773 | 49942.3545 | 297718.1275 | 1.5577 | 2.985% | 463762.2888 | 1105.6631 | 248881.4361 | 1.8634 | 2.214% | 21513.9785 | 0.022287 | 6263.4409 | 47.4561
| Pilot | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0 | #DIV/0! | 0% | 0 | #DIV/0! | 0 | #DIV/0!
SIR
|  | Reported |  |  | PY2018 Costs | [5 empty] | Net Savings Benefit/Cost Ratio
| Program | Avoided Energy | Avoided Demand | Total Benefits | Incentive Costs | Admin Costs | R&D Costs | EM&V Costs | Performance Bonus | Total Costs
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Reported |  |  | PY2018 Costs | [5 empty] | Net Savings Benefit/Cost Ratio
PID | Program | Avoided Energy | Avoided Demand | Total Benefits | Incentive Costs | Admin Costs | R&D Costs | EM&V Costs | Performance Bonus | Total Costs |  |  | Total Benefits | Performance Bonus | Total Costs | Benefit/Cost Ratio |  | Lifetime kWh | $/kWh | Lifetime kWh | $/kWh
1758 | Commercial Solutions MTP | 8414945.5759 | 3900873.1581 | 12315818.734 | 2603000 | 349000 | 11508 | 37044.1818 | 687830.4174 | 3688382.5992 | 3.3391 | 41.11% | 12315818.734 | 404392.4317 | 3404944.6135 | 3.617 | 58.79% | 391589635.2402 | 0.0064357 | 85266.5682 | 13.7011
1760 | Residential SOP | 1807930.559 | 2323228.2329 | 4131158.7919 | 1699000 | 190000 | 7515 | 18336.6795 | 448952.7004 | 2363804.3799 | 1.7477 | 26.83% | 4131158.7919 | 88538.2289 | 2003389.9084 | 2.0621 | 19.72% | 95089854.2972 | 0.010879 | 55946.4853 | 23.7607
1761 | Entergy Solutions High Performance Homes MTP | 818233.2299 | 540713.253 | 1358946.4829 | 520000 | 81000 | 2299 | 14216.7371 | 137407.5363 | 754923.2734 | 1.8001 | 8.212% | 1358946.4829 | 8913.9719 | 626429.709 | 2.1694 | 6.487% | 49166015.0183 | 0.0092451 | 15258.2989 | 19.6862
1762 | A/C Distributor MTP | 268381.6576 | 233054.4738 | 501436.1314 | 315000 | 52000 | 1394 | 9040.5964 | 83237.2576 | 460671.854 | 1.0885 | 4.975% | 501436.1314 | 1992.4698 | 379427.0662 | 1.3216 | 2.394% | 13918559.489 | 0.017715 | 5677.7822 | 37.7098
1763 | Hard-To-Reach SOP | 907232.204 | 1269601.0544 | 2176833.2584 | 1006000 | 137000 | 4450 | 13823.1966 | 265830.7337 | 1427103.9303 | 1.5254 | 15.89% | 2176833.2584 | 27624.1363 | 1188897.3329 | 1.831 | 10.39% | 47982093.9355 | 0.012396 | 30677.4387 | 27.1318
1759 | Load Management SOP | 746.8861 | 463015.4027 | 463762.2888 | 189000 | 46000 | 835 | 11940.773 | 49942.3545 | 297718.1275 | 1.5577 | 2.985% | 463762.2888 | 1105.6631 | 248881.4361 | 1.8634 | 2.214% | 21513.9785 | 0.022287 | 6263.4409 | 47.4561

## PAC Program Results
|  |  |  | Claimed | [5 empty] | Evaluated | [5 empty] | Net
ProgramYearID | Program | Sector | Program Year | Annual kWh | Annual kW | LT kWh | LT kW | Avoided Cost kWh | Avoided Cost kW | Annual kWh | Annual kW | LT kWh | LT kW | Avoided Cost kWh | Avoided Cost kW | Annual kWh | Annual kW | LT kWh | LT kW | Avoided Cost kWh | Avoided Cost kW
1758 | Commercial Solutions MTP | Commercial | 2018 | 36173249.8776 | 7126.2814 | 455336785.163 | 86127.8467 | 9784820.4371 | 3940275.9173 | 36173249.8776 | 7126.2814 | 455336785.163 | 86127.8467 | 9784820.4371 | 3940275.9173 | 31108994.8947 | 7055.0185 | 391589635.2402 | 85266.5682 | 8414945.5759 | 3900873.1581
1760 | Residential SOP | Residential | 2018 | 5617383.24 | 3728.195 | 103358537.2796 | 65054.0527 | 1965141.912 | 2701428.1778 | 5617383.24 | 3728.195 | 103358537.2796 | 65054.0527 | 1965141.912 | 2701428.1778 | 5167992.5808 | 3206.2477 | 95089854.2972 | 55946.4853 | 1807930.559 | 2323228.2329
1761 | Entergy Solutions High Performance Homes MTP | Residential | 2018 | 2840024.47 | 881.38 | 70237164.3118 | 21797.5699 | 1168904.6141 | 772447.5042 | 2840024.47 | 881.38 | 70237164.3118 | 21797.5699 | 1168904.6141 | 772447.5042 | 1988017.129 | 616.966 | 49166015.0183 | 15258.2989 | 818233.2299 | 540713.253
1762 | A/C Distributor MTP | Residential | 2018 | 857559.54 | 349.612 | 16569713.6774 | 6759.2645 | 319501.9733 | 277445.8022 | 857559.54 | 349.612 | 16569713.6774 | 6759.2645 | 319501.9733 | 277445.8022 | 720350.0136 | 293.6741 | 13918559.489 | 5677.7822 | 268381.6576 | 233054.4738
1763 | Hard-To-Reach SOP | Residential | 2018 | 2591623.41 | 1754.558 | 47982093.9355 | 30677.4387 | 907232.204 | 1269601.0544 | 2591623.41 | 1754.558 | 47982093.9355 | 30677.4387 | 907232.204 | 1269601.0544 | 2591623.41 | 1754.558 | 47982093.9355 | 30677.4387 | 907232.204 | 1269601.0544
1759 | Load Management SOP | Load Management | 2018 | 20008 | 5825 | 21513.9785 | 6263.4409 | 746.8861 | 463015.4027 | 20008 | 5825 | 21513.9785 | 6263.4409 | 746.8861 | 463015.4027 | 20008 | 5825 | 21513.9785 | 6263.4409 | 746.8861 | 463015.4027
Note on I2: Dan Belknap: Avoided cost of NPV kWh
Note on J2: Dan Belknap: Avoided Cost of NPV kW
Note on O2: Dan Belknap: Avoided cost of NPV kWh
Note on P2: Dan Belknap: Avoided Cost of NPV kW
Note on U2: Dan Belknap: Avoided cost of NPV kWh
Note on V2: Dan Belknap: Avoided Cost of NPV kW

## SIR Program Results
|  |  |  | Claimed |  |  | Evaluated |  |  | Net
ProgramYearID | Program | Sector | Program Year | Annual kWh | LT kWh | Avoided Cost kWh | Annual kWh | LT kWh | Avoided Cost kWh | Annual kWh | LT kWh | Avoided Cost kWh
Note on G2: Dan Belknap: Avoided cost of NPV kWh
Note on J2: Dan Belknap: Avoided cost of NPV kWh
Note on M2: Dan Belknap: Avoided cost of NPV kWh

## PAC Calculations
Measure Information | [5 empty] | Annual Inputs |  |  |  | Claimed | [5 empty] | Evaluated | [5 empty] | Net
Measure Code | ProgramYearID | Program | Sector | Measure Name | Measure Life | Program Year | Discount Rate | Cost per kWh | Cost per kW | Annual kWh | Annual kW | LT kWh | LT kW | Avoided Cost kWh | Avoided Cost kW | Annual kWh | Annual kW | LT kWh | LT kW | Avoided Cost kWh | Avoided Cost kW | Annual kWh | Annual kW | LT kWh | LT kW | Avoided Cost kWh | Avoided Cost kW
1758_109466 | 1758 | Commercial Solutions MTP | Commercial | Integrated-ballast LED Lamps | 9 | 2018 | 8.22% | 0.03757 | 80 | 625594.6237 | 112.6237 | 5630351.6129 | 1013.6129 | 145490.5237 | 55772.5 | 625594.6237 | 112.6237 | 5630351.6129 | 1013.6129 | 145490.5237 | 55772.5 | 538011.3763 | 111.4974 | 4842102.3871 | 1003.4768 | 125121.8504 | 55214.775
1758_109655 | 1758 | Commercial Solutions MTP | Commercial | Chiller Air Cooled - Screw/Scroll/Reciprocating VFD | 15 | 2018 | 8.22% | 0.03757 | 80 | -81002.1505 | 209.8817 | -1215032.2581 | 3148.2258 | -25702.3449 | 141807.632 | -81002.1505 | 209.8817 | -1215032.2581 | 3148.2258 | -25702.3449 | 141807.632 | -69661.8495 | 207.7829 | -1044927.7419 | 3116.7435 | -22104.0166 | 140389.5557
1759_109865 | 1759 | Load Management SOP | Load Management | Load Management | 1 | 2018 | 8.22% | 0.03757 | 80 | 21513.9785 | 6263.4409 | 21513.9785 | 6263.4409 | 746.8861 | 463015.4027 | 21513.9785 | 6263.4409 | 21513.9785 | 6263.4409 | 746.8861 | 463015.4027 | 21513.9785 | 6263.4409 | 21513.9785 | 6263.4409 | 746.8861 | 463015.4027
1760_109243 | 1760 | Residential SOP | Residential | R-AirInf | 11 | 2018 | 8.22% | 0.03757 | 80 | 204.4086 | 0.21505 | 2248.4946 | 2.3656 | 54.2442 | 121.5207 | 204.4086 | 0.21505 | 2248.4946 | 2.3656 | 54.2442 | 121.5207 | 188.0559 | 0.18495 | 2068.6151 | 2.0344 | 49.9047 | 104.5078
1762_109795 | 1762 | A/C Distributor MTP | Residential | R-CentHP | 15 | 2018 | 8.22% | 0.03757 | 80 | 9404.3011 | 2.4731 | 141064.5161 | 37.0968 | 2984.0268 | 1670.9747 | 9404.3011 | 2.4731 | 141064.5161 | 37.0968 | 2984.0268 | 1670.9747 | 7899.6129 | 2.0774 | 118494.1935 | 31.1613 | 2506.5825 | 1403.6188
1758_109453 | 1758 | Commercial Solutions MTP | Commercial | Chiller Water Cooled - Screw/Scroll/Reciprocating | 20 | 2018 | 8.22% | 0.03757 | 80 | 356050.5376 | 62.3118 | 7121010.7527 | 1246.2366 | 129212.9813 | 48151.9395 | 356050.5376 | 62.3118 | 7121010.7527 | 1246.2366 | 129212.9813 | 48151.9395 | 306203.4624 | 61.6887 | 6124069.2473 | 1233.7742 | 111123.1639 | 47670.4201
1758_109462 | 1758 | Commercial Solutions MTP | Commercial | Hot Food Holding Cabinets | 12 | 2018 | 8.22% | 0.03757 | 80 | 20782.7957 | 3.4925 | 249393.5484 | 41.9097 | 5817.7551 | 2081.7728 | 20782.7957 | 3.4925 | 249393.5484 | 41.9097 | 5817.7551 | 2081.7728 | 17873.2043 | 3.4575 | 214478.4516 | 41.4906 | 5003.2694 | 2060.9551
1758_109468 | 1758 | Commercial Solutions MTP | Commercial | Light Emitting Diode (LED) | 15 | 2018 | 8.22% | 0.03757 | 80 | 13689119.3548 | 2486.1935 | 205336790.3226 | 37292.9032 | 4343618.8352 | 1679809.0807 | 13689119.3548 | 2486.1935 | 205336790.3226 | 37292.9032 | 4343618.8352 | 1679809.0807 | 11772642.6452 | 2461.3316 | 176589639.6774 | 36919.9742 | 3735512.1982 | 1663010.9899
1758_109705 | 1758 | Commercial Solutions MTP | Commercial | HVAC-DX | 15 | 2018 | 8.22% | 0.03757 | 80 | 1870.9677 | 0.94624 | 28064.5161 | 14.1935 | 593.6664 | 639.3295 | 1870.9677 | 0.94624 | 28064.5161 | 14.1935 | 593.6664 | 639.3295 | 1609.0323 | 0.93677 | 24135.4839 | 14.0516 | 510.5531 | 632.9362
1760_109005 | 1760 | Residential SOP | Residential | R-DuctEff | 18 | 2018 | 8.22% | 0.03757 | 80 | 1419387.5699 | 826.6473 | 25548976.2581 | 14879.6516 | 492232.1623 | 610433.0499 | 1419387.5699 | 826.6473 | 25548976.2581 | 14879.6516 | 492232.1623 | 610433.0499 | 1305836.5643 | 710.9167 | 23505058.1574 | 12796.5004 | 452853.5893 | 524972.4229
1760_109050 | 1760 | Residential SOP | Residential | R-LFShwrhd | 10 | 2018 | 8.22% | 0.03757 | 80 | 623314.7204 | 230.7753 | 6233147.2043 | 2307.7527 | 155588.8332 | 122661.7335 | 623314.7204 | 230.7753 | 6233147.2043 | 2307.7527 | 155588.8332 | 122661.7335 | 573449.5428 | 198.4667 | 5734495.428 | 1984.6673 | 143141.7266 | 105489.0908
1760_109088 | 1760 | Residential SOP | Residential | R-LED | 16 | 2018 | 8.22% | 0.03757 | 80 | -1.6129 | 0 | -25.8065 | 0 | -0.5289 | 0 | -1.6129 | 0 | -25.8065 | 0 | -0.5289 | 0 | -1.4839 | 0 | -23.7419 | 0 | -0.48659 | 0
1761_109076 | 1761 | Entergy Solutions High Performance Homes MTP | Residential | R-NewHm | 23 | 2018 | 8.22% | 0.03757 | 80 | 1706888.172 | 508.9247 | 39258427.957 | 11705.2688 | 653348.6657 | 414803.3808 | 1706888.172 | 508.9247 | 39258427.957 | 11705.2688 | 653348.6657 | 414803.3808 | 1194821.7204 | 356.2473 | 27480899.5699 | 8193.6882 | 457344.066 | 290362.3665
1763_108974 | 1763 | Hard-To-Reach SOP | Residential | R-LFShwrhd | 10 | 2018 | 8.22% | 0.03757 | 80 | 246613.4516 | 91.3645 | 2466134.5161 | 913.6452 | 61558.4679 | 48562.0924 | 246613.4516 | 91.3645 | 2466134.5161 | 913.6452 | 61558.4679 | 48562.0924 | 246613.4516 | 91.3645 | 2466134.5161 | 913.6452 | 61558.4679 | 48562.0924
1758_109456 | 1758 | Commercial Solutions MTP | Commercial | Electric Convection Oven | 12 | 2018 | 8.22% | 0.03757 | 80 | 12496.7742 | 2.6452 | 149961.2903 | 31.7419 | 3498.2383 | 1576.7122 | 12496.7742 | 2.6452 | 149961.2903 | 31.7419 | 3498.2383 | 1576.7122 | 10747.2258 | 2.6187 | 128966.7097 | 31.4245 | 3008.4849 | 1560.945
1758_109459 | 1758 | Commercial Solutions MTP | Commercial | ENERGY STAR Roof | 15 | 2018 | 8.22% | 0.03757 | 80 | 3600 | 2.3118 | 54000 | 34.6774 | 1142.2961 | 1561.9981 | 3600 | 2.3118 | 54000 | 34.6774 | 1142.2961 | 1561.9981 | 3096 | 2.2887 | 46440 | 34.3306 | 982.3747 | 1546.3781
1758_109461 | 1758 | Commercial Solutions MTP | Commercial | High Intensity Discharge (HID) | 15.5 | 2018 | 8.22% | 0.03757 | 80 | 28847.3118 | 4.4516 | 447133.3333 | 69 | 9309.5118 | 3059.0582 | 28847.3118 | 4.4516 | 447133.3333 | 69 | 9309.5118 | 3059.0582 | 24808.6882 | 4.4071 | 384534.6667 | 68.31 | 8006.1802 | 3028.4676
1758_109602 | 1758 | Commercial Solutions MTP | Commercial | CAV to VAV with VFDs on AHU | 15 | 2018 | 8.22% | 0.03757 | 80 | 48226.8817 | 0.72043 | 723403.2258 | 10.8065 | 15302.6054 | 486.7622 | 48226.8817 | 0.72043 | 723403.2258 | 10.8065 | 15302.6054 | 486.7622 | 41475.1183 | 0.71323 | 622126.7742 | 10.6984 | 13160.2406 | 481.8946
1758_109672 | 1758 | Commercial Solutions MTP | Commercial | ECM Motors | 15 | 2018 | 8.22% | 0.03757 | 80 | 364883.871 | 0 | 5473258.0645 | 0 | 115779.2852 | 0 | 364883.871 | 0 | 5473258.0645 | 0 | 115779.2852 | 0 | 313800.129 | 0 | 4707001.9355 | 0 | 99570.1853 | 0
1758_109673 | 1758 | Commercial Solutions MTP | Commercial | LED | 15 | 2018 | 8.22% | 0.03757 | 80 | 86406.4516 | 26.3333 | 1296096.7742 | 395 | 27417.1538 | 17792.2481 | 86406.4516 | 26.3333 | 1296096.7742 | 395 | 27417.1538 | 17792.2481 | 74309.5484 | 26.07 | 1114643.2258 | 391.05 | 23578.7523 | 17614.3256
1758_109704 | 1758 | Commercial Solutions MTP | Commercial | Chiller Water Cooled - Centrifugal | 25 | 2018 | 8.22% | 0.03757 | 80 | 323050.5376 | 0 | 8076263.4409 | 0 | 127161.7188 | 0 | 323050.5376 | 0 | 8076263.4409 | 0 | 127161.7188 | 0 | 277823.4624 | 0 | 6945586.5591 | 0 | 109359.0782 | 0
1760_109061 | 1760 | Residential SOP | Residential | R-LED | 16 | 2018 | 8.22% | 0.03757 | 80 | 275622.3978 | 31.4323 | 4409958.3656 | 502.9161 | 90381.957 | 21947.831 | 275622.3978 | 31.4323 | 4409958.3656 | 502.9161 | 90381.957 | 21947.831 | 253572.606 | 27.0317 | 4057161.6963 | 432.5079 | 83151.4004 | 18875.1347
1763_109015 | 1763 | Hard-To-Reach SOP | Residential | R-AirInf | 11 | 2018 | 8.22% | 0.03757 | 80 | 892270.1398 | 897.8097 | 9814971.5376 | 9875.9065 | 236783.2057 | 507326.5732 | 892270.1398 | 897.8097 | 9814971.5376 | 9875.9065 | 236783.2057 | 507326.5732 | 892270.1398 | 897.8097 | 9814971.5376 | 9875.9065 | 236783.2057 | 507326.5732
1763_109892 | 1763 | Hard-To-Reach SOP | Residential | CoolSaver | 5 | 2018 | 8.22% | 0.03757 | 80 | 22430.6452 | 8.7204 | 112153.2258 | 43.6022 | 3345.3139 | 2769.3753 | 22430.6452 | 8.7204 | 112153.2258 | 43.6022 | 3345.3139 | 2769.3753 | 22430.6452 | 8.7204 | 112153.2258 | 43.6022 | 3345.3139 | 2769.3753
1758_109451 | 1758 | Commercial Solutions MTP | Commercial | Chiller Air Cooled - Screw/Scroll/Reciprocating | 20 | 2018 | 8.22% | 0.03757 | 80 | 1524527.957 | 331.871 | 30490559.1398 | 6637.4194 | 553260.792 | 256455.8173 | 1524527.957 | 331.871 | 30490559.1398 | 6637.4194 | 553260.792 | 256455.8173 | 1311094.043 | 328.5523 | 26221880.8602 | 6571.0452 | 475804.2811 | 253891.2591
1758_109465 | 1758 | Commercial Solutions MTP | Commercial | Integrated-ballast LED Lamps | 9 | 2018 | 8.22% | 0.03757 | 80 | 5525743.2348 | 1075.3167 | 49731689.1128 | 9677.8499 | 1285086.615 | 532508.8921 | 5525743.2348 | 1075.3167 | 49731689.1128 | 9677.8499 | 1285086.615 | 532508.8921 | 4752139.1819 | 1064.5635 | 42769252.637 | 9581.0714 | 1105174.4889 | 527183.8031
1758_109475 | 1758 | Commercial Solutions MTP | Commercial | Solid & Glass Door Reach-Ins | 12 | 2018 | 8.22% | 0.03757 | 80 | 755005.3763 | 86.186 | 9060064.5161 | 1034.2323 | 211349.6395 | 51373.2561 | 755005.3763 | 86.186 | 9060064.5161 | 1034.2323 | 211349.6395 | 51373.2561 | 649304.6237 | 85.3242 | 7791655.4839 | 1023.8899 | 181760.69 | 50859.5235
1760_108977 | 1760 | Residential SOP | Residential | R-WallIns | 25 | 2018 | 8.22% | 0.03757 | 80 | 55740.7849 | 32.6548 | 1393519.6237 | 816.371 | 21941.1305 | 27370.4701 | 55740.7849 | 32.6548 | 1393519.6237 | 816.371 | 21941.1305 | 27370.4701 | 51281.5222 | 28.0832 | 1282038.0538 | 702.079 | 20185.8401 | 23538.6043
1760_109891 | 1760 | Residential SOP | Residential | CoolSaver | 5 | 2018 | 8.22% | 0.03757 | 80 | 22430.6452 | 8.7204 | 112153.2258 | 43.6022 | 3345.3139 | 2769.3753 | 22430.6452 | 8.7204 | 112153.2258 | 43.6022 | 3345.3139 | 2769.3753 | 20636.1935 | 7.4996 | 103180.9677 | 37.4978 | 3077.6888 | 2381.6627
1761_109557 | 1761 | Entergy Solutions High Performance Homes MTP | Residential | R-NewHm | 23 | 2018 | 8.22% | 0.03757 | 80 | 1346901.5806 | 438.7957 | 30978736.3548 | 10092.3011 | 515555.9485 | 357644.1235 | 1346901.5806 | 438.7957 | 30978736.3548 | 10092.3011 | 515555.9485 | 357644.1235 | 942831.1065 | 307.157 | 21685115.4484 | 7064.6108 | 360889.1639 | 250350.8864
1763_109024 | 1763 | Hard-To-Reach SOP | Residential | R-DuctEff | 18 | 2018 | 8.22% | 0.03757 | 80 | 597189.5054 | 324.4032 | 10749411.0968 | 5839.2581 | 207100.5043 | 239553.7343 | 597189.5054 | 324.4032 | 10749411.0968 | 5839.2581 | 207100.5043 | 239553.7343 | 597189.5054 | 324.4032 | 10749411.0968 | 5839.2581 | 207100.5043 | 239553.7343
1763_109047 | 1763 | Hard-To-Reach SOP | Residential | R-LED | 16 | 2018 | 8.22% | 0.03757 | 80 | 90700.9247 | 10.1774 | 1451214.7957 | 162.8387 | 29742.6013 | 7106.4662 | 90700.9247 | 10.1774 | 1451214.7957 | 162.8387 | 29742.6013 | 7106.4662 | 90700.9247 | 10.1774 | 1451214.7957 | 162.8387 | 29742.6013 | 7106.4662
1763_109259 | 1763 | Hard-To-Reach SOP | Residential | R-AirInf | 11 | 2018 | 8.22% | 0.03757 | 80 | 429.7849 | 0.43011 | 4727.6344 | 4.7312 | 114.0527 | 243.0415 | 429.7849 | 0.43011 | 4727.6344 | 4.7312 | 114.0527 | 243.0415 | 429.7849 | 0.43011 | 4727.6344 | 4.7312 | 114.0527 | 243.0415
1758_109460 | 1758 | Commercial Solutions MTP | Commercial | Halogen | 1.5 | 2018 | 8.22% | 0.03757 | 80 | 735.4839 | 0.12903 | 1103.2258 | 0.19355 | 37.5632 | 14.0325 | 735.4839 | 0.12903 | 1103.2258 | 0.19355 | 37.5632 | 14.0325 | 632.5161 | 0.12774 | 948.7742 | 0.19161 | 32.3043 | 13.8922
1758_109467 | 1758 | Commercial Solutions MTP | Commercial | Light Emitting Diode (LED) | 15 | 2018 | 8.22% | 0.03757 | 80 | 816316.5419 | 162.8116 | 12244748.1279 | 2442.1739 | 259020.8921 | 110004.4644 | 816316.5419 | 162.8116 | 12244748.1279 | 2442.1739 | 259020.8921 | 110004.4644 | 702032.226 | 161.1835 | 10530483.39 | 2417.7521 | 222757.9672 | 108904.4196
1758_109469 | 1758 | Commercial Solutions MTP | Commercial | Lighting Controls | 10 | 2018 | 8.22% | 0.03757 | 80 | 424319.3548 | 76.4731 | 4243193.5484 | 764.7312 | 105916.5638 | 40647.0126 | 424319.3548 | 76.4731 | 4243193.5484 | 764.7312 | 105916.5638 | 40647.0126 | 364914.6452 | 75.7084 | 3649146.4516 | 757.0839 | 91088.2448 | 40240.5425
1758_109471 | 1758 | Commercial Solutions MTP | Commercial | Linear Fluorescent | 15.5 | 2018 | 8.22% | 0.03757 | 80 | 719349.4624 | 138.4624 | 11149916.6667 | 2146.1667 | 232146.1484 | 95148.5333 | 719349.4624 | 138.4624 | 11149916.6667 | 2146.1667 | 232146.1484 | 95148.5333 | 618640.5376 | 137.0777 | 9588928.3333 | 2124.705 | 199645.6876 | 94197.048
1758_109474 | 1758 | Commercial Solutions MTP | Commercial | RMS | 1 | 2018 | 8.22% | 0.03757 | 80 | 7526593.5376 | 1792.9172 | 7526593.5376 | 1792.9172 | 261295.6193 | 132538.6924 | 7526593.5376 | 1792.9172 | 7526593.5376 | 1792.9172 | 261295.6193 | 132538.6924 | 6472870.4424 | 1774.988 | 6472870.4424 | 1774.988 | 224714.2326 | 131213.3054
1758_109687 | 1758 | Commercial Solutions MTP | Commercial | Chiller Water Cooled - Centrifugal | 20 | 2018 | 8.22% | 0.03757 | 80 | 0 | 259.3763 | 0 | 5187.5269 | 0 | 200435.0449 | 0 | 259.3763 | 0 | 5187.5269 | 0 | 200435.0449 | 0 | 256.7826 | 0 | 5135.6516 | 0 | 198430.6944
1760_108987 | 1760 | Residential SOP | Residential | R-LED | 20 | 2018 | 8.22% | 0.03757 | 80 | 24818.7419 | 5.1108 | 496374.8387 | 102.2151 | 9006.8777 | 3949.3731 | 24818.7419 | 5.1108 | 496374.8387 | 102.2151 | 9006.8777 | 3949.3731 | 22833.2426 | 4.3952 | 456664.8516 | 87.9049 | 8286.3275 | 3396.4608
1760_109788 | 1760 | Residential SOP | Residential | R-AtticEncap | 25 | 2018 | 8.22% | 0.03757 | 80 | 4983.871 | 3.0968 | 124596.7742 | 77.4194 | 1961.7909 | 2595.6388 | 4983.871 | 3.0968 | 124596.7742 | 77.4194 | 1961.7909 | 2595.6388 | 4585.1613 | 2.6632 | 114629.0323 | 66.5806 | 1804.8476 | 2232.2493
1762_109016 | 1762 | A/C Distributor MTP | Residential | R-CentAC | 18 | 2018 | 8.22% | 0.03757 | 80 | 912702.7312 | 373.4538 | 16428649.1613 | 6722.1677 | 316517.9465 | 275774.8275 | 912702.7312 | 373.4538 | 16428649.1613 | 6722.1677 | 316517.9465 | 275774.8275 | 766670.2942 | 313.7012 | 13800065.2955 | 5646.6209 | 265875.075 | 231650.8551
1763_109043 | 1763 | Hard-To-Reach SOP | Residential | R-LED | 20 | 2018 | 8.22% | 0.03757 | 80 | 8591.871 | 1.0892 | 171837.4194 | 21.7849 | 3118.0441 | 841.7242 | 8591.871 | 1.0892 | 171837.4194 | 21.7849 | 3118.0441 | 841.7242 | 8591.871 | 1.0892 | 171837.4194 | 21.7849 | 3118.0441 | 841.7242
1758_109457 | 1758 | Commercial Solutions MTP | Commercial | ENERGY STAR Commercial Dishwashers | 11 | 2018 | 8.22% | 0.03757 | 80 | 24556.9892 | 3.6258 | 270126.8817 | 39.8839 | 6516.7289 | 2048.8395 | 24556.9892 | 3.6258 | 270126.8817 | 39.8839 | 6516.7289 | 2048.8395 | 21119.0108 | 3.5895 | 232309.1183 | 39.485 | 5604.3869 | 2028.3511
1758_109464 | 1758 | Commercial Solutions MTP | Commercial | Integrated-ballast CFL Lamps | 2.5 | 2018 | 8.22% | 0.03757 | 80 | 6202.1505 | 1.0968 | 15505.3763 | 2.7419 | 508.0167 | 191.2941 | 6202.1505 | 1.0968 | 15505.3763 | 2.7419 | 508.0167 | 191.2941 | 5333.8495 | 1.0858 | 13334.6237 | 2.7145 | 436.8943 | 189.3812
1758_109470 | 1758 | Commercial Solutions MTP | Commercial | Linear Fluorescent | 15.5 | 2018 | 8.22% | 0.03757 | 80 | 111311.0703 | 22.2034 | 1725321.589 | 344.152 | 35921.9511 | 15257.6958 | 111311.0703 | 22.2034 | 1725321.589 | 344.152 | 35921.9511 | 15257.6958 | 95727.5204 | 21.9813 | 1483776.5665 | 340.7105 | 30892.878 | 15105.1189
1758_109472 | 1758 | Commercial Solutions MTP | Commercial | Modular CFL and CCFL Fixtures | 16 | 2018 | 8.22% | 0.03757 | 80 | 33513.9785 | 6 | 536223.6559 | 96 | 10989.8868 | 4189.549 | 33513.9785 | 6 | 536223.6559 | 96 | 10989.8868 | 4189.549 | 28822.0215 | 5.94 | 461152.3441 | 95.04 | 9451.3027 | 4147.6535
1758_109706 | 1758 | Commercial Solutions MTP | Commercial | LED | 9 | 2018 | 8.22% | 0.03757 | 80 | 497.8495 | 0.075269 | 4480.6452 | 0.67742 | 115.7817 | 37.274 | 497.8495 | 0.075269 | 4480.6452 | 0.67742 | 115.7817 | 37.274 | 428.1505 | 0.074516 | 3853.3548 | 0.67065 | 99.5722 | 36.9012
1760_108990 | 1760 | Residential SOP | Residential | R-CeilingIns | 25 | 2018 | 8.22% | 0.03757 | 80 | 1805037.5806 | 1052.8602 | 45125939.5161 | 26321.5054 | 710513.2309 | 882481.1313 | 1805037.5806 | 1052.8602 | 45125939.5161 | 26321.5054 | 710513.2309 | 882481.1313 | 1660634.5742 | 905.4598 | 41515864.3548 | 22636.4946 | 653672.1724 | 758933.7729
1760_109010 | 1760 | Residential SOP | Residential | R-AirInf | 11 | 2018 | 8.22% | 0.03757 | 80 | 1807485.6667 | 1816.5871 | 19882342.3333 | 19982.4581 | 479655.4668 | 1026501.4178 | 1807485.6667 | 1816.5871 | 19882342.3333 | 19982.4581 | 479655.4668 | 1026501.4178 | 1662886.8133 | 1562.2649 | 18291754.9467 | 17184.9139 | 441283.0294 | 882791.2193
1763_108971 | 1763 | Hard-To-Reach SOP | Residential | R-CeilingIns | 25 | 2018 | 8.22% | 0.03757 | 80 | 922314.7419 | 549.0839 | 23057868.5484 | 13727.0968 | 363048.8552 | 460228.3843 | 922314.7419 | 549.0839 | 23057868.5484 | 13727.0968 | 363048.8552 | 460228.3843 | 922314.7419 | 549.0839 | 23057868.5484 | 13727.0968 | 363048.8552 | 460228.3843
1758_109449 | 1758 | Commercial Solutions MTP | Commercial | Air Compressor | 15 | 2018 | 8.22% | 0.03757 | 80 | 4649627.957 | 535.6667 | 69744419.3548 | 8035 | 1475347.7596 | 361925.8571 | 4649627.957 | 535.6667 | 69744419.3548 | 8035 | 1475347.7596 | 361925.8571 | 3998680.043 | 530.31 | 59980200.6452 | 7954.65 | 1268799.0732 | 358306.5985
1758_109458 | 1758 | Commercial Solutions MTP | Commercial | ENERGY STAR Electric Steam Cookers | 10 | 2018 | 8.22% | 0.03757 | 80 | 52483.871 | 11.0226 | 524838.7097 | 110.2258 | 13100.7723 | 5858.7251 | 52483.871 | 11.0226 | 524838.7097 | 110.2258 | 13100.7723 | 5858.7251 | 45136.129 | 10.9124 | 451361.2903 | 109.1235 | 11266.6642 | 5800.1378
1758_109463 | 1758 | Commercial Solutions MTP | Commercial | HVAC-DX/Heat Pump | 15 | 2018 | 8.22% | 0.03757 | 80 | 432824.7312 | 149.9677 | 6492370.9677 | 2249.5161 | 137337.2243 | 101326.4534 | 432824.7312 | 149.9677 | 6492370.9677 | 2249.5161 | 137337.2243 | 101326.4534 | 372229.2688 | 148.4681 | 5583439.0323 | 2227.021 | 118110.0129 | 100313.1889
1758_109476 | 1758 | Commercial Solutions MTP | Commercial | Strip Curtains | 4 | 2018 | 8.22% | 0.03757 | 80 | 48378.4946 | 5.6989 | 193513.9785 | 22.7957 | 5990.693 | 1502.6797 | 48378.4946 | 5.6989 | 193513.9785 | 22.7957 | 5990.693 | 1502.6797 | 41605.5054 | 5.6419 | 166422.0215 | 22.5677 | 5151.996 | 1487.6529
1758_109601 | 1758 | Commercial Solutions MTP | Commercial | CAV to VAV with VFD on AHU | 15 | 2018 | 8.22% | 0.03757 | 80 | 91183.871 | 1.3656 | 1367758.0645 | 20.4839 | 28933.0503 | 922.6686 | 91183.871 | 1.3656 | 1367758.0645 | 20.4839 | 28933.0503 | 922.6686 | 78418.129 | 1.3519 | 1176271.9355 | 20.279 | 24882.4233 | 913.442
1760_109793 | 1760 | Residential SOP | Residential | R-ESWndw | 25 | 2018 | 8.22% | 0.03757 | 80 | 1172.2581 | 0.71183 | 29306.4516 | 17.7957 | 461.4335 | 596.6364 | 1172.2581 | 0.71183 | 29306.4516 | 17.7957 | 461.4335 | 596.6364 | 1078.4774 | 0.61217 | 26961.9355 | 15.3043 | 424.5188 | 513.1073
1763_108998 | 1763 | Hard-To-Reach SOP | Residential | R-WallIns | 25 | 2018 | 8.22% | 0.03757 | 80 | 6151.4194 | 3.543 | 153785.4839 | 88.5753 | 2421.3706 | 2969.6631 | 6151.4194 | 3.543 | 153785.4839 | 88.5753 | 2421.3706 | 2969.6631 | 6151.4194 | 3.543 | 153785.4839 | 88.5753 | 2421.3706 | 2969.6631
1758_109452 | 1758 | Commercial Solutions MTP | Commercial | Chiller Water Cooled - Centrifugal | 25 | 2018 | 8.22% | 0.03757 | 80 | 659173.1183 | 87.6129 | 16479327.957 | 2190.3226 | 259468.959 | 73434.9469 | 659173.1183 | 87.6129 | 16479327.957 | 2190.3226 | 259468.959 | 73434.9469 | 566888.8817 | 86.7368 | 14172222.043 | 2168.4194 | 223143.3047 | 72700.5974
1758_109455 | 1758 | Commercial Solutions MTP | Commercial | Electric Combination Oven | 12 | 2018 | 8.22% | 0.03757 | 80 | 13694.6237 | 2.8774 | 164335.4839 | 34.529 | 3833.5539 | 1715.1552 | 13694.6237 | 2.8774 | 164335.4839 | 34.529 | 3833.5539 | 1715.1552 | 11777.3763 | 2.8486 | 141328.5161 | 34.1837 | 3296.8563 | 1698.0036
1763_109098 | 1763 | Hard-To-Reach SOP | Residential | R-LED | 16 | 2018 | 8.22% | 0.03757 | 80 | -0.64516 | 0 | -10.3226 | 0 | -0.21156 | 0 | -0.64516 | 0 | -10.3226 | 0 | -0.21156 | 0 | -0.64516 | 0 | -10.3226 | 0 | -0.21156 | 0
Note on O2: Dan Belknap: Avoided cost of NPV kWh
Note on P2: Dan Belknap: Avoided Cost of NPV kW
Note on U2: Dan Belknap: Avoided cost of NPV kWh
Note on V2: Dan Belknap: Avoided Cost of NPV kW
Note on AA2: Dan Belknap: Avoided cost of NPV kWh
Note on AB2: Dan Belknap: Avoided Cost of NPV kW

## SIR Calculations
Measure Information | [5 empty] | Annual Inputs |  |  | Claimed |  |  | Evaluated |  |  | Net
Measure Code | ProgramYearID | Program | Sector | Measure Name | Measure Life | Program Year | Discount Rate | Cost per kWh | Annual kWh | LT kWh | Avoided Cost kWh | Annual kWh | LT kWh | Avoided Cost kWh | Annual kWh | LT kWh | Avoided Cost kWh
Note on L2: Dan Belknap: Avoided cost of NPV kWh
Note on O2: Dan Belknap: Avoided cost of NPV kWh
Note on R2: Dan Belknap: Avoided cost of NPV kWh

## Avoided Costs
Escalator | 0%
| kWh Utility Avoided Costs | [5 empty] | kW Utility Avoided Costs |  |  | Segment/End-use avoided costs
Program Year | General | Customer | Summer Peak | Summer Off-peak | Winter Peak | Winter Off-peak | General | Summer kW | Winter kW | Res Cooling | Res Lighting | Res General | Nonres Cooling | Nonres Lighting | Nonres General
2018 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2019 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2020 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2021 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2022 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2023 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2024 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2025 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2026 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2027 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2028 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2029 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2030 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2031 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2032 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2033 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2034 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2035 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2036 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2037 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2038 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2039 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2040 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2041 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2042 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2043 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2044 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2045 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2046 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2047 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2048 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2049 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2050 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2051 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2052 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2053 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2054 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2055 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2056 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2057 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2058 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2059 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2060 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2061 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2062 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2063 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2064 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2065 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2066 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80
2067 | 0.03757 | 0 |  |  |  |  | 80 | 80 | 80

## Portfolio Inputs
Portfolio Inputs
This sheet contains inputs that are constant throughout the portfolio. All inputs are annually updated.
Program Year | Administrative Costs | Incentives | R&D Costs | EM&V Costs | Performance Bonus | Avoided Cost kWh | Avoided Cost kW | WACC (Discount Rate) | SIR Avoided Cost kWh | SIR Discount Rate | Line Loss | ERCOT
2018 | 0 | 0 | 0 | 0 | 1673201 | 0.03757 | 80 | 8.22% |  | 3% | 7% | 0

## Program Inputs
ProgramYearID | UtilityProgramName | ReportSectorDescription | ProgramYear | AdminCosts | RDCosts | EMVCosts | Incentives
1758 | Commercial Solutions MTP | Commercial | 2018 | 349000 | 11508 | 37044.1818 | 2603000
1760 | Residential SOP | Residential | 2018 | 190000 | 7515 | 18336.6795 | 1699000
1761 | Entergy Solutions High Performance Homes MTP | Residential | 2018 | 81000 | 2299 | 14216.7371 | 520000
1762 | A/C Distributor MTP | Residential | 2018 | 52000 | 1394 | 9040.5964 | 315000
1763 | Hard-To-Reach SOP | Residential | 2018 | 137000 | 4450 | 13823.1966 | 1006000
1759 | Load Management SOP | Load Management | 2018 | 46000 | 835 | 11940.773 | 189000

## Measure Inputs
CEMeasureCode | ProgramYearID | UtilityProgramName | ReportSectorDescription | CEMeasureDescription | ProgramYear | EUL | ReportedkWh | ReportedkW | EvaluatedkWh | EvaluatedkW | NetkWh | NetkW
1758_109466 | 1758 | Commercial Solutions MTP | Commercial | Integrated-ballast LED Lamps | 2018 | 9 | 581803 | 104.74 | 581803 | 104.74 | 500350.58 | 103.6926
1758_109655 | 1758 | Commercial Solutions MTP | Commercial | Chiller Air Cooled - Screw/Scroll/Reciprocating VFD | 2018 | 15 | -75332 | 195.19 | -75332 | 195.19 | -64785.52 | 193.2381
1759_109865 | 1759 | Load Management SOP | Load Management | Load Management | 2018 | 1 | 20008 | 5825 | 20008 | 5825 | 20008 | 5825
1760_109243 | 1760 | Residential SOP | Residential | R-AirInf | 2018 | 11 | 190.1 | 0.2 | 190.1 | 0.2 | 174.892 | 0.172
1762_109795 | 1762 | A/C Distributor MTP | Residential | R-CentHP | 2018 | 15 | 8746 | 2.3 | 8746 | 2.3 | 7346.64 | 1.932
1758_109453 | 1758 | Commercial Solutions MTP | Commercial | Chiller Water Cooled - Screw/Scroll/Reciprocating | 2018 | 20 | 331127 | 57.95 | 331127 | 57.95 | 284769.22 | 57.3705
1758_109462 | 1758 | Commercial Solutions MTP | Commercial | Hot Food Holding Cabinets | 2018 | 12 | 19328 | 3.248 | 19328 | 3.248 | 16622.08 | 3.2155
1758_109468 | 1758 | Commercial Solutions MTP | Commercial | Light Emitting Diode (LED) | 2018 | 15 | 12730881 | 2312.16 | 12730881 | 2312.16 | 10948557.66 | 2289.0384
1758_109705 | 1758 | Commercial Solutions MTP | Commercial | HVAC-DX | 2018 | 15 | 1740 | 0.88 | 1740 | 0.88 | 1496.4 | 0.8712
1760_109005 | 1760 | Residential SOP | Residential | R-DuctEff | 2018 | 18 | 1320030.44 | 768.782 | 1320030.44 | 768.782 | 1214428.0048 | 661.1525
1760_109050 | 1760 | Residential SOP | Residential | R-LFShwrhd | 2018 | 10 | 579682.69 | 214.621 | 579682.69 | 214.621 | 533308.0748 | 184.5741
1760_109088 | 1760 | Residential SOP | Residential | R-LED | 2018 | 16 | -1.5 | 0 | -1.5 | 0 | -1.38 | 0
1761_109076 | 1761 | Entergy Solutions High Performance Homes MTP | Residential | R-NewHm | 2018 | 23 | 1587406 | 473.3 | 1587406 | 473.3 | 1111184.2 | 331.31
1763_108974 | 1763 | Hard-To-Reach SOP | Residential | R-LFShwrhd | 2018 | 10 | 229350.51 | 84.969 | 229350.51 | 84.969 | 229350.51 | 84.969
1758_109456 | 1758 | Commercial Solutions MTP | Commercial | Electric Convection Oven | 2018 | 12 | 11622 | 2.46 | 11622 | 2.46 | 9994.92 | 2.4354
1758_109459 | 1758 | Commercial Solutions MTP | Commercial | ENERGY STAR Roof | 2018 | 15 | 3348 | 2.15 | 3348 | 2.15 | 2879.28 | 2.1285
1758_109461 | 1758 | Commercial Solutions MTP | Commercial | High Intensity Discharge (HID) | 2018 | 15.5 | 26828 | 4.14 | 26828 | 4.14 | 23072.08 | 4.0986
1758_109602 | 1758 | Commercial Solutions MTP | Commercial | CAV to VAV with VFDs on AHU | 2018 | 15 | 44851 | 0.67 | 44851 | 0.67 | 38571.86 | 0.6633
1758_109672 | 1758 | Commercial Solutions MTP | Commercial | ECM Motors | 2018 | 15 | 339342 | 0 | 339342 | 0 | 291834.12 | 0
1758_109673 | 1758 | Commercial Solutions MTP | Commercial | LED | 2018 | 15 | 80358 | 24.49 | 80358 | 24.49 | 69107.88 | 24.2451
1758_109704 | 1758 | Commercial Solutions MTP | Commercial | Chiller Water Cooled - Centrifugal | 2018 | 25 | 300437 | 0 | 300437 | 0 | 258375.82 | 0
1760_109061 | 1760 | Residential SOP | Residential | R-LED | 2018 | 16 | 256328.83 | 29.232 | 256328.83 | 29.232 | 235822.5236 | 25.1395
1763_109015 | 1763 | Hard-To-Reach SOP | Residential | R-AirInf | 2018 | 11 | 829811.23 | 834.963 | 829811.23 | 834.963 | 829811.23 | 834.963
1763_109892 | 1763 | Hard-To-Reach SOP | Residential | CoolSaver | 2018 | 5 | 20860.5 | 8.11 | 20860.5 | 8.11 | 20860.5 | 8.11
1758_109451 | 1758 | Commercial Solutions MTP | Commercial | Chiller Air Cooled - Screw/Scroll/Reciprocating | 2018 | 20 | 1417811 | 308.64 | 1417811 | 308.64 | 1219317.46 | 305.5536
1758_109465 | 1758 | Commercial Solutions MTP | Commercial | Integrated-ballast LED Lamps | 2018 | 9 | 5138941.2083 | 1000.0445 | 5138941.2083 | 1000.0445 | 4419489.4392 | 990.044
1758_109475 | 1758 | Commercial Solutions MTP | Commercial | Solid & Glass Door Reach-Ins | 2018 | 12 | 702155 | 80.153 | 702155 | 80.153 | 603853.3 | 79.3515
1760_108977 | 1760 | Residential SOP | Residential | R-WallIns | 2018 | 25 | 51838.93 | 30.369 | 51838.93 | 30.369 | 47691.8156 | 26.1173
1760_109891 | 1760 | Residential SOP | Residential | CoolSaver | 2018 | 5 | 20860.5 | 8.11 | 20860.5 | 8.11 | 19191.66 | 6.9746
1761_109557 | 1761 | Entergy Solutions High Performance Homes MTP | Residential | R-NewHm | 2018 | 23 | 1252618.47 | 408.08 | 1252618.47 | 408.08 | 876832.929 | 285.656
1763_109024 | 1763 | Hard-To-Reach SOP | Residential | R-DuctEff | 2018 | 18 | 555386.24 | 301.695 | 555386.24 | 301.695 | 555386.24 | 301.695
1763_109047 | 1763 | Hard-To-Reach SOP | Residential | R-LED | 2018 | 16 | 84351.86 | 9.465 | 84351.86 | 9.465 | 84351.86 | 9.465
1763_109259 | 1763 | Hard-To-Reach SOP | Residential | R-AirInf | 2018 | 11 | 399.7 | 0.4 | 399.7 | 0.4 | 399.7 | 0.4
1758_109460 | 1758 | Commercial Solutions MTP | Commercial | Halogen | 2018 | 1.5 | 684 | 0.12 | 684 | 0.12 | 588.24 | 0.1188
1758_109467 | 1758 | Commercial Solutions MTP | Commercial | Light Emitting Diode (LED) | 2018 | 15 | 759174.3839 | 151.4148 | 759174.3839 | 151.4148 | 652889.9702 | 149.9006
1758_109469 | 1758 | Commercial Solutions MTP | Commercial | Lighting Controls | 2018 | 10 | 394617 | 71.12 | 394617 | 71.12 | 339370.62 | 70.4088
1758_109471 | 1758 | Commercial Solutions MTP | Commercial | Linear Fluorescent | 2018 | 15.5 | 668995 | 128.77 | 668995 | 128.77 | 575335.7 | 127.4823
1758_109474 | 1758 | Commercial Solutions MTP | Commercial | RMS | 2018 | 1 | 6999731.99 | 1667.413 | 6999731.99 | 1667.413 | 6019769.5114 | 1650.7388
1758_109687 | 1758 | Commercial Solutions MTP | Commercial | Chiller Water Cooled - Centrifugal | 2018 | 20 | 0 | 241.22 | 0 | 241.22 | 0 | 238.8078
1760_108987 | 1760 | Residential SOP | Residential | R-LED | 2018 | 20 | 23081.43 | 4.753 | 23081.43 | 4.753 | 21234.9156 | 4.0876
1760_109788 | 1760 | Residential SOP | Residential | R-AtticEncap | 2018 | 25 | 4635 | 2.88 | 4635 | 2.88 | 4264.2 | 2.4768
1762_109016 | 1762 | A/C Distributor MTP | Residential | R-CentAC | 2018 | 18 | 848813.54 | 347.312 | 848813.54 | 347.312 | 713003.3736 | 291.7421
1763_109043 | 1763 | Hard-To-Reach SOP | Residential | R-LED | 2018 | 20 | 7990.44 | 1.013 | 7990.44 | 1.013 | 7990.44 | 1.013
1758_109457 | 1758 | Commercial Solutions MTP | Commercial | ENERGY STAR Commercial Dishwashers | 2018 | 11 | 22838 | 3.372 | 22838 | 3.372 | 19640.68 | 3.3383
1758_109464 | 1758 | Commercial Solutions MTP | Commercial | Integrated-ballast CFL Lamps | 2018 | 2.5 | 5768 | 1.02 | 5768 | 1.02 | 4960.48 | 1.0098
1758_109470 | 1758 | Commercial Solutions MTP | Commercial | Linear Fluorescent | 2018 | 15.5 | 103519.2953 | 20.6491 | 103519.2953 | 20.6491 | 89026.594 | 20.4426
1758_109472 | 1758 | Commercial Solutions MTP | Commercial | Modular CFL and CCFL Fixtures | 2018 | 16 | 31168 | 5.58 | 31168 | 5.58 | 26804.48 | 5.5242
1758_109706 | 1758 | Commercial Solutions MTP | Commercial | LED | 2018 | 9 | 463 | 0.07 | 463 | 0.07 | 398.18 | 0.0693
1760_108990 | 1760 | Residential SOP | Residential | R-CeilingIns | 2018 | 25 | 1678684.95 | 979.16 | 1678684.95 | 979.16 | 1544390.154 | 842.0776
1760_109010 | 1760 | Residential SOP | Residential | R-AirInf | 2018 | 11 | 1680961.67 | 1689.426 | 1680961.67 | 1689.426 | 1546484.7364 | 1452.9064
1763_108971 | 1763 | Hard-To-Reach SOP | Residential | R-CeilingIns | 2018 | 25 | 857752.71 | 510.648 | 857752.71 | 510.648 | 857752.71 | 510.648
1758_109449 | 1758 | Commercial Solutions MTP | Commercial | Air Compressor | 2018 | 15 | 4324154 | 498.17 | 4324154 | 498.17 | 3718772.44 | 493.1883
1758_109458 | 1758 | Commercial Solutions MTP | Commercial | ENERGY STAR Electric Steam Cookers | 2018 | 10 | 48810 | 10.251 | 48810 | 10.251 | 41976.6 | 10.1485
1758_109463 | 1758 | Commercial Solutions MTP | Commercial | HVAC-DX/Heat Pump | 2018 | 15 | 402527 | 139.47 | 402527 | 139.47 | 346173.22 | 138.0753
1758_109476 | 1758 | Commercial Solutions MTP | Commercial | Strip Curtains | 2018 | 4 | 44992 | 5.3 | 44992 | 5.3 | 38693.12 | 5.247
1758_109601 | 1758 | Commercial Solutions MTP | Commercial | CAV to VAV with VFD on AHU | 2018 | 15 | 84801 | 1.27 | 84801 | 1.27 | 72928.86 | 1.2573
1760_109793 | 1760 | Residential SOP | Residential | R-ESWndw | 2018 | 25 | 1090.2 | 0.662 | 1090.2 | 0.662 | 1002.984 | 0.56932
1763_108998 | 1763 | Hard-To-Reach SOP | Residential | R-WallIns | 2018 | 25 | 5720.82 | 3.295 | 5720.82 | 3.295 | 5720.82 | 3.295
1758_109452 | 1758 | Commercial Solutions MTP | Commercial | Chiller Water Cooled - Centrifugal | 2018 | 25 | 613031 | 81.48 | 613031 | 81.48 | 527206.66 | 80.6652
1758_109455 | 1758 | Commercial Solutions MTP | Commercial | Electric Combination Oven | 2018 | 12 | 12736 | 2.676 | 12736 | 2.676 | 10952.96 | 2.6492
1763_109098 | 1763 | Hard-To-Reach SOP | Residential | R-LED | 2018 | 16 | -0.6 | 0 | -0.6 | 0 | -0.6 | 0

## SIR Inputs
CEMeasureCode | ProgramYearID | UtilityProgramName | CEMeasureDescription | ProgramYear | EUL | ReportedkWh | EvaluatedkWh | NetkWh

## General Inputs
Utilities
AEP TCC
AEP TNC
CenterPoint
El Paso Electric
Entergy
Oncor
Sharyland
SWEPCO
TNMP
Xcel Energy

## SQL Results
UtilityID | ProgramYear | ProgramYearID | Utility Name | Level of Analysis | Claimed Avoided Energy | Claimed Avoided Demand | Claimed Total Benefits | Evaluated Avoided Energy | Evaluated Avoided Demand | Evaluated Total Benefits | Net Avoided Energy | Net Avoided Demand | Net Total Benefits | Incentive Costs | Admin Costs | R&D Costs | EM&V Costs | Performance Bonus | Total Costs | Claimed Savings Results | Evaluated Savings Results | Net Savings Results | SortOrder | Claimed LT kWh | Claimed LT kW | Evaluated LT kWh | Evaluated LT kW | Net LT kWh | Net LT kW | Claimed $/LT kWh | Claimed $/LT kW | Evaluated $/LT kWh | Evaluated $/LT kW | Net $/LT kWh | Net $/LT kW | Excel Claimed Result | Claimed Check | Excel Verified Result | Verified Check | Excel Net Result | Net Check
3 | 2018 |  | Entergy | Total Portfolio | 14146348.0266 | 9424213.8587 | 23570561.8853 | 14146348.0266 | 9424213.8587 | 23570561.8853 | 12217470.1125 | 8730485.575 | 20947955.6874 | 6332000 | 855000 | 28001 | 104402.1644 | 1673201 | 8992604.1644 | 2.6211 | 2.6211 | 2.3295 | 0 | 693505808.3458 | 216679.6134 | 693505808.3458 | 216679.6134 | 597767671.9587 | 199090.0142 | 0.00778 | 16.5937 | 0.00778 | 16.5937 | 0.00877 | 18.8249 | 2.6211 | TRUE | 2.6211 | TRUE | 2.3295 | TRUE
3 | 2018 |  | Entergy | Total Portfolio excluding low-income programs | 14146348.0266 | 9424213.8587 | 23570561.8853 | 14146348.0266 | 9424213.8587 | 23570561.8853 | 12217470.1125 | 8730485.575 | 20947955.6874 | 6332000 | 855000 | 28001 | 104402.1644 | 1673201 | 8992604.1644 | 2.6211 | 2.6211 | 2.3295 | 1 | 693505808.3458 | 216679.6134 | 693505808.3458 | 216679.6134 | 597767671.9587 | 199090.0142 | 0.00778 | 16.5937 | 0.00778 | 16.5937 | 0.00877 | 18.8249 | 2.6211 | TRUE | 2.6211 | TRUE | 2.3295 | TRUE
3 | 2018 |  | Entergy | Commercial | 9784820.4371 | 3940275.9173 | 13725096.3544 | 9784820.4371 | 3940275.9173 | 13725096.3544 | 8414945.5759 | 3900873.1581 | 12315818.734 | 2603000 | 349000 | 11508 | 37044.1818 | 687830.4174 | 3688382.5992 | 3.7212 | 3.7212 | 3.3391 | 100 | 455336785.163 | 86127.8467 | 455336785.163 | 86127.8467 | 391589635.2402 | 85266.5682 | 0.00577 | 12.2943 | 0.00577 | 12.2943 | 0.00644 | 13.7011 | 3.7212 | TRUE | 3.7212 | TRUE | 3.3391 | TRUE
3 | 2018 | 1758 | Entergy | Commercial Solutions MTP | 9784820.4371 | 3940275.9173 | 13725096.3544 | 9784820.4371 | 3940275.9173 | 13725096.3544 | 8414945.5759 | 3900873.1581 | 12315818.734 | 2603000 | 349000 | 11508 | 37044.1818 | 687830.4174 | 3688382.5992 | 3.7212 | 3.7212 | 3.3391 | 101 | 455336785.163 | 86127.8467 | 455336785.163 | 86127.8467 | 391589635.2402 | 85266.5682 | 0.00577 | 12.2943 | 0.00577 | 12.2943 | 0.00644 | 13.7011 | 3.7212 | TRUE | 3.7212 | TRUE | 3.3391 | TRUE
3 | 2018 |  | Entergy | Residential | 4360780.7034 | 5020922.5387 | 9381703.2421 | 4360780.7034 | 5020922.5387 | 9381703.2421 | 3801777.6505 | 4366597.0142 | 8168374.6646 | 3540000 | 460000 | 15658 | 55417.2096 | 935428.228 | 5006503.4376 | 1.8739 | 1.8739 | 1.6316 | 200 | 238147509.2043 | 124288.3258 | 238147509.2043 | 124288.3258 | 206156522.74 | 107560.0051 | 0.00977 | 21.5579 | 0.00977 | 21.5579 | 0.0113 | 24.8823 | 1.8739 | TRUE | 1.8739 | TRUE | 1.6316 | TRUE
3 | 2018 | 1760 | Entergy | Residential SOP | 1965141.912 | 2701428.1778 | 4666570.0898 | 1965141.912 | 2701428.1778 | 4666570.0898 | 1807930.559 | 2323228.2329 | 4131158.7919 | 1699000 | 190000 | 7515 | 18336.6795 | 448952.7004 | 2363804.3799 | 1.9742 | 1.9742 | 1.7477 | 203 | 103358537.2796 | 65054.0527 | 103358537.2796 | 65054.0527 | 95089854.2972 | 55946.4853 | 0.00963 | 21.0345 | 0.00963 | 21.0345 | 0.01088 | 23.7607 | 1.9742 | TRUE | 1.9742 | TRUE | 1.7477 | TRUE
3 | 2018 | 1761 | Entergy | Entergy Solutions High Performance Homes MTP | 1168904.6141 | 772447.5042 | 1941352.1184 | 1168904.6141 | 772447.5042 | 1941352.1184 | 818233.2299 | 540713.253 | 1358946.4829 | 520000 | 81000 | 2299 | 14216.7371 | 137407.5363 | 754923.2734 | 2.5716 | 2.5716 | 1.8001 | 204 | 70237164.3118 | 21797.5699 | 70237164.3118 | 21797.5699 | 49166015.0183 | 15258.2989 | 0.00647 | 13.7803 | 0.00647 | 13.7803 | 0.00925 | 19.6862 | 2.5716 | TRUE | 2.5716 | TRUE | 1.8001 | TRUE
3 | 2018 | 1762 | Entergy | A/C Distributor MTP | 319501.9733 | 277445.8022 | 596947.7755 | 319501.9733 | 277445.8022 | 596947.7755 | 268381.6576 | 233054.4738 | 501436.1314 | 315000 | 52000 | 1394 | 9040.5964 | 83237.2576 | 460671.854 | 1.2958 | 1.2958 | 1.0885 | 205 | 16569713.6774 | 6759.2645 | 16569713.6774 | 6759.2645 | 13918559.489 | 5677.7822 | 0.01488 | 31.6763 | 0.01488 | 31.6763 | 0.01771 | 37.7099 | 1.2958 | TRUE | 1.2958 | TRUE | 1.0885 | TRUE
3 | 2018 | 1763 | Entergy | Hard-To-Reach SOP | 907232.204 | 1269601.0544 | 2176833.2584 | 907232.204 | 1269601.0544 | 2176833.2584 | 907232.204 | 1269601.0544 | 2176833.2584 | 1006000 | 137000 | 4450 | 13823.1966 | 265830.7337 | 1427103.9303 | 1.5253 | 1.5253 | 1.5253 | 206 | 47982093.9355 | 30677.4387 | 47982093.9355 | 30677.4387 | 47982093.9355 | 30677.4387 | 0.0124 | 27.1318 | 0.0124 | 27.1318 | 0.0124 | 27.1318 | 1.5254 | TRUE | 1.5254 | TRUE | 1.5254 | TRUE
3 | 2018 |  | Entergy | Load Management | 746.8861 | 463015.4027 | 463762.2888 | 746.8861 | 463015.4027 | 463762.2888 | 746.8861 | 463015.4027 | 463762.2888 | 189000 | 46000 | 835 | 11940.773 | 49942.3545 | 297718.1275 | 1.5577 | 1.5577 | 1.5577 | 400 | 21513.9785 | 6263.4409 | 21513.9785 | 6263.4409 | 21513.9785 | 6263.4409 | 0.02229 | 47.4561 | 0.02229 | 47.4561 | 0.02229 | 47.4561 | 1.5577 | TRUE | 1.5577 | TRUE | 1.5577 | TRUE
3 | 2018 | 1759 | Entergy | Load Management SOP | 746.8861 | 463015.4027 | 463762.2888 | 746.8861 | 463015.4027 | 463762.2888 | 746.8861 | 463015.4027 | 463762.2888 | 189000 | 46000 | 835 | 11940.773 | 49942.3545 | 297718.1275 | 1.5577 | 1.5577 | 1.5577 | 402 | 21513.9785 | 6263.4409 | 21513.9785 | 6263.4409 | 21513.9785 | 6263.4409 | 0.02229 | 47.4561 | 0.02229 | 47.4561 | 0.02229 | 47.4561 | 1.5577 | TRUE | 1.5577 | TRUE | 1.5577 | TRUE